Prosthodontics of Central Indiana

ProsthodonticsIN.com

317-574-0866

Digital Ultrasonic Cleaner

This machine is a gift from our team to help you to maintain the best possible denture hygiene.

- Please read the manufacturer’s instructions first for safety and general information, and then read this for specifics on using the device for denture cleaning.

- Use once every 24 hours on the longest cycle (480s = 8 min). Additional cycles will not harm the dentures.  Most appliances can be left soaking in the chamber overnight, except for dentures with temporary soft liner installed.

- Rinse the dentures under fast flowing water from the faucet first to remove visible food particles. Brushing with a toothbrush while rinsing is even better.

- Instructions state to empty and clean the unit after each use.  However, be sure to unplug after each use.

- A tablespoonful of vinegar in water in the chamber is recommended, but other proprietary denture cleansers can be used in the ultrasonic.

- Questions? We will answer at your next post operative visit or for a written response: phasuk@teethin.com or  abey@teethin.com